## School A
mode | 01.01 Project | 01.02 Date | 01.03 Building Name | 01.04 Building Number | 01.05 Street | 01.06 City | 01.07 State | 01.08 Zip | 02.01 Ventilation Type | 02.02 HVAC Zone Name | 02.03 HVAC Model Number | 02.04 HVAC Fan Size CFM | 02.05 Number of Rooms Serviced by this Zone | 02.06 Total Cubic Feet Serviced By This Zone | 02.07 List Room Survey Numbers | 02.08 HVAC Zone a-AUC | 02.09 HVAC Automated Alarms | 02.10 Manual Dampers in Ducts | 02.11 Thermostat Control by Users | 02.12 Thermostat Locks Removed | 02.13 Visible Vent Manually Controlled | 02.14 System Fans on ALL the time | 02.15 System Fans on when public is present | 03.01 Number | 03.02 Room Name | 03.03 Length | 03.04 Width | 03.05 Height | 03.06 Square Feet | 03.07 SQFT Height | 03.08 Cubic Feet | 04.01 Number Of Windows | 04.02 Windows Fully Open | 04.03 Windows Not Blocked | 04.04 Door Open | 04.05 Door Not Blocked | 04.06 w-AUC | 05.01 Exhaust Fan Type | 05.02 Number of Exhaust Fans | 05.03 Intake Vents Fully Open | 05.04 Intake Vents Not Blocked | 05.05 Total Exhaust Fans CFM | 05.06 Total Exhaust Fans fAUC | 06.01 Forced Air Heating | 06.02 Forced Air Heating Cooling | 06.03 Forced Air Fan Option | 06.04 Number of Exhaust Vents | 06.05 Exhaust Vents Fully Open | 06.06 Exhaust Vents Not Blocked | 06.07 Number of Intake Vents | 06.08 HVAC Intake Vents Fully Open | 06.09 HVAC Intake Vents Not Blocked | 06.10 Visual Streamers | 06.11 t-AUC | 06.12 a-AUC | 07.01 Number of UV-C Fixtures | 07.02 UV-C Model | 07.03 UV-C Total Watts | 07.04 UV-C eAUC | 07.05 UV C Public View On/Off Indicators | 07.07 UV-C Automated Alarms | 08.01 Number of Far UV Fixtures | 08.02 Far-UV Model | 08.03 Far-UV Total Watts | 08.04 Far-UV eAUC | 08.05 Far UV Public View On/Off Indicators | 08.06 Far UV Automated Alarms | 09.01 Number of Air Sanitizers | 09.02 Air Sanitizers Model | 09.03 Air Sanitizers Total CFM | 09.04 Air Sanitizers sAUC | 09.05 Air Sanitizers Public View On/Off Indicators | 09.06 Air Sanitizers Automated Alarms | 10.01 Number of PCO/other units | 10.02 PCO/other Model | 10.03 Claimed effective ep AUC | 10.04 Claimed effective ep AUC Test Authority | 10.05 PCO/other units Total CFM | 10.06 PCO/other units Public View On/Off Indicators | 10.07 PCO/other units Automated Alarms | 13.01 Occupancy Number | 13.02 Room Occupancy Sign Posted | 13.03 Public Present During Site Survey | 13.04 Data Entered Directly Into Computer | 13.05 Printout Attached To Paper Form | 14.01 Notes and Observations | 15.01 Inspector Name | 15.02 Signature Date | 16.01 Total AUC | 16.02 Large Room Factor | 16.03 Final AUC | 16.04 Cert Level | 16.05 Final AUC Mitigation | 16.06 Cert Level Mitigation | 16.07 Cert Level Controls
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 2000 | [11 empty] | 1 | Art Lab |  |  |  | 2279 | 8 | 18232 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 6.5818 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 6.5818 | 1 | 6.5818 | 2 | 16.5818 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 2 | Art Lab |  |  |  | 2184 | 8 | 17472 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 2417 | [11 empty] | 3 | Auditorium |  |  |  | 3234 | 8 | 25872 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 5.6053 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 5.6053 | 1.062 | 5.953 | 2 | 5.953 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 5840 | [11 empty] | 4 | Auditorium |  |  |  | 2589 | 8 | 20712 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 16.9177 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 16.9177 | 1.062 | 17.9672 | 3 | 17.9672 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 5 | Auditorium |  |  |  | 1702 | 8 | 13616 | [5 empty] | 0 |  |  |  |  | 4000 | 17.6263 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 17.6263 | 1 | 17.6263 | 3 | 17.6263 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 1042 | [11 empty] | 6 | Auditorium |  |  |  | 4087 | 8 | 32696 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 1.9122 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 1.9122 | 1.062 | 2.0308 | 1 | 2.0308 | 1
import |  | 2021-03-22 | School Name | [5 empty] | HU and Univent |  |  | 0 | [11 empty] | 7 | Auto Service |  |  |  | 1761 | 8 | 14088 | [5 empty] | 0 |  |  |  |  | 4000 | 17.0358 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 4 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 17.0358 | 1 | 17.0358 | 3 | 21.0358 | 3
import |  | 2021-03-22 | School Name | [5 empty] | HU |  |  | 0 | [11 empty] | 8 | Body Shop |  |  |  | 2944 | 8 | 23552 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 4 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 0 | 1.062 | 0 | 0 | 4.2481 | 2
import |  | 2021-03-22 | School Name | [5 empty] | AC Bathroom |  |  | 130 | [11 empty] | 9 | Boys Basement Restroom |  |  |  | 383 | 8 | 3064 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 2.5457 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 2.5457 | 1 | 2.5457 | 1 | 2.5457 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 10 | Boys Gym |  |  |  | 5418 | 8 | 43344 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1.062 | 0 | 0 | 10.6203 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 11 | Boys Locker Room |  |  |  | 1824 | 8 | 14592 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 70 | [11 empty] | 12 | BREAK ROOM |  |  |  | 145 | 8 | 1160 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 3.6207 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 3.6207 | 1 | 3.6207 | 1 | 3.6207 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 642 | [11 empty] | 13 | Cafe |  |  |  | 2451 | 8 | 19608 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 1.9645 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 1.9645 | 1 | 1.9645 | 1 | 1.9645 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Carrier / Perimeter Heater |  |  | 918 | [11 empty] | 14 | Cafeteria |  |  |  | 2720 | 8 | 21760 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 2.5312 |  |  |  | 24 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 2.5312 | 1.062 | 2.6883 | 1 | 28.1771 | 4
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 2750 | [11 empty] | 15 | Cafeteria |  |  |  | 2736 | 8 | 21888 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 7.5384 |  |  |  | 24 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 7.5384 | 1.062 | 8.006 | 2 | 33.4949 | 4
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 452 | [11 empty] | 16 | Classroom |  |  |  | 960 | 8 | 7680 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 3.5312 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 3.5312 | 1 | 3.5312 | 1 | 3.5312 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 480 | [11 empty] | 17 | Classroom |  |  |  | 960 | 8 | 7680 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 3.75 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 3.75 | 1 | 3.75 | 1 | 3.75 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 509 | [11 empty] | 18 | Classroom |  |  |  | 960 | 8 | 7680 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 3.9766 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 3.9766 | 1 | 3.9766 | 1 | 3.9766 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 409 | [11 empty] | 19 | Classroom |  |  |  | 960 | 8 | 7680 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 3.1953 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 3.1953 | 1 | 3.1953 | 1 | 3.1953 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 514 | [11 empty] | 20 | Classroom |  |  |  | 960 | 8 | 7680 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 4.0156 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 4.0156 | 1 | 4.0156 | 2 | 4.0156 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 523 | [11 empty] | 21 | Classroom |  |  |  | 960 | 8 | 7680 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 4.0859 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 4.0859 | 1 | 4.0859 | 2 | 4.0859 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 125 | [11 empty] | 22 | Classroom |  |  |  | 782 | 8 | 6256 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 1.1988 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 1.1988 | 1 | 1.1988 | 1 | 11.1988 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 272 | [11 empty] | 23 | Classroom |  |  |  | 380 | 8 | 3040 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 5.3684 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 5.3684 | 1 | 5.3684 | 2 | 5.3684 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 485 | [11 empty] | 24 | Classroom |  |  |  | 1470 | 8 | 11760 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 2.4745 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 2.4745 | 1 | 2.4745 | 1 | 2.4745 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 546 | [11 empty] | 25 | Classroom |  |  |  | 912 | 8 | 7296 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 4.4901 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 4.4901 | 1 | 4.4901 | 2 | 4.4901 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 607 | [11 empty] | 26 | Classroom |  |  |  | 912 | 8 | 7296 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 4.9918 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 4.9918 | 1 | 4.9918 | 2 | 4.9918 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 613 | [11 empty] | 27 | Classroom |  |  |  | 936 | 8 | 7488 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 4.9119 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 4.9119 | 1 | 4.9119 | 2 | 4.9119 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 480 | [11 empty] | 28 | Classroom |  |  |  | 912 | 8 | 7296 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 3.9474 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 3.9474 | 1 | 3.9474 | 1 | 3.9474 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 182 | [11 empty] | 29 | Classroom |  |  |  | 960 | 8 | 7680 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 1.4219 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 1.4219 | 1 | 1.4219 | 1 | 11.4219 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 317 | [11 empty] | 30 | Classroom |  |  |  | 984 | 8 | 7872 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 2.4162 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 2.4162 | 1 | 2.4162 | 1 | 2.4162 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 798 | [11 empty] | 31 | Classroom |  |  |  | 456 | 8 | 3648 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 13.125 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 13.125 | 1 | 13.125 | 3 | 13.125 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 577 | [11 empty] | 32 | Classroom |  |  |  | 960 | 8 | 7680 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 4.5078 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 4.5078 | 1 | 4.5078 | 2 | 4.5078 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 458 | [11 empty] | 33 | Classroom |  |  |  | 960 | 8 | 7680 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 3.5781 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 3.5781 | 1 | 3.5781 | 1 | 3.5781 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 519 | [11 empty] | 34 | Classroom |  |  |  | 960 | 8 | 7680 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 4.0547 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 4.0547 | 1 | 4.0547 | 2 | 4.0547 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 534 | [11 empty] | 35 | Classroom |  |  |  | 1008 | 8 | 8064 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 3.9732 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 3.9732 | 1 | 3.9732 | 1 | 3.9732 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 1568 | [11 empty] | 36 | Classroom |  |  |  | 960 | 8 | 7680 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 12.25 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 12.25 | 1 | 12.25 | 3 | 12.25 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 340 | [11 empty] | 37 | Classroom |  |  |  | 960 | 8 | 7680 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 2.6562 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 2.6562 | 1 | 2.6562 | 1 | 2.6562 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 617 | [11 empty] | 38 | Classroom |  |  |  | 456 | 8 | 3648 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 10.148 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 10.148 | 1 | 10.148 | 3 | 10.148 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 424 | [11 empty] | 39 | Classroom |  |  |  | 782 | 8 | 6256 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 4.0665 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 4.0665 | 1 | 4.0665 | 2 | 4.0665 | 2
import |  | 2021-03-22 | School Name | [5 empty] | VAV |  |  | 23 | [11 empty] | 40 | Classroom |  |  |  | 884 | 8 | 7072 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0.19514 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0.19514 | 1 | 0.19514 | 0 | 10.1951 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Univent |  |  | 0 | [11 empty] | 41 | Classroom |  |  |  | 756 | 8 | 6048 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Univent |  |  | 0 | [11 empty] | 42 | Classroom |  |  |  | 729 | 8 | 5832 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | VAV |  |  | 42 | [11 empty] | 43 | Classroom |  |  |  | 740 | 8 | 5920 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0.42568 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0.42568 | 1 | 0.42568 | 0 | 10.4257 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 276 | [11 empty] | 44 | Classroom |  |  |  | 403 | 8 | 3224 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 5.1365 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 5.1365 | 1 | 5.1365 | 2 | 5.1365 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 1440 | [11 empty] | 45 | Classroom |  |  |  | 818 | 8 | 6544 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 13.2029 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 13.2029 | 1 | 13.2029 | 3 | 13.2029 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 1218 | [11 empty] | 46 | Classroom |  |  |  | 831 | 8 | 6648 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 10.9928 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 10.9928 | 1 | 10.9928 | 3 | 10.9928 | 3
import |  | 2021-03-22 | School Name | [5 empty] | VAV |  |  | 6 | [11 empty] | 47 | Closet |  |  |  | 45 | 8 | 360 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 1 |  |  |  | 0 | [5 empty] | 4 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 1 | 1 | 1 | 0 | 5 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 48 | Common Area |  |  |  | 3443 | 8 | 27544 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 24 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 0 | 1.062 | 0 | 0 | 25.4888 | 4
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 49 | Computer Lab |  |  |  | 980 | 8 | 7840 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 320 | [11 empty] | 50 | Computer Lab |  |  |  | 943 | 8 | 7544 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 2.5451 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 2.5451 | 1 | 2.5451 | 1 | 12.5451 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 56 | [11 empty] | 51 | Conf. Room |  |  |  | 980 | 8 | 7840 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0.42857 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0.42857 | 1 | 0.42857 | 0 | 10.4286 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 85 | [11 empty] | 52 | Conference |  |  |  | 279 | 8 | 2232 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 2.2849 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 2.2849 | 1 | 2.2849 | 1 | 2.2849 | 1
import |  | 2021-03-22 | School Name | [5 empty] | House Fan |  |  | 0 | [11 empty] | 53 | Conselor Office |  |  |  | 177 | 8 | 1416 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | VAV |  |  | 12 | [11 empty] | 54 | Copy Room |  |  |  | 132 | 8 | 1056 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0.68182 |  |  |  | 0 | [5 empty] | 4 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 0.68182 | 1 | 0.68182 | 0 | 4.6818 | 2
import |  | 2021-03-22 | School Name | [5 empty] | VAV |  |  | 7 | [11 empty] | 55 | Corridor |  |  |  | 533 | 8 | 4264 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0.098499 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0.098499 | 1 | 0.098499 | 0 | 10.0985 | 3
import |  | 2021-03-22 | School Name | [5 empty] | VAV |  |  | 33 | [11 empty] | 56 | Corridor |  |  |  | 1868 | 8 | 14944 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0.13249 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0.13249 | 1 | 0.13249 | 0 | 10.1325 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 1107 | [11 empty] | 57 | Corridor/Hall |  |  |  | 435 | 8 | 3480 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 19.0862 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 19.0862 | 1 | 19.0862 | 3 | 19.0862 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 279 | [11 empty] | 58 | Counselor office |  |  |  | 512 | 8 | 4096 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 4.0869 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 4.0869 | 1 | 4.0869 | 2 | 4.0869 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 59 | Custodial supply room |  |  |  | 512 | 8 | 4096 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 60 | Faculty Dining Room |  |  |  | 435 | 8 | 3480 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 61 | Faculty Lounge Room |  |  |  | 435 | 8 | 3480 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 62 | Faculty Room |  |  |  | 104 | 8 | 832 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Carrier / Perimeter Heater |  |  | 0 | [11 empty] | 63 | Food Service "A & B" |  |  |  | 1320 | 8 | 10560 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 24 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 34 | 4
import |  | 2021-03-22 | School Name | [5 empty] | Carrier / Perimeter Heater |  |  | 577 | [11 empty] | 64 | Game Room |  |  |  | 675 | 8 | 5400 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 6.4111 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 6.4111 | 1 | 6.4111 | 2 | 6.4111 | 2
import |  | 2021-03-22 | School Name | [5 empty] | AC Bathroom |  |  | 787 | [11 empty] | 65 | Girls Basement Restroom |  |  |  | 524 | 8 | 4192 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 11.2643 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 11.2643 | 1 | 11.2643 | 3 | 11.2643 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 4087 | [11 empty] | 66 | Girls Gym |  |  |  | 5418 | 8 | 43344 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 5.6575 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 5.6575 | 1.062 | 6.0085 | 2 | 16.6288 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Hydroxyl Unit |  |  | 0 | [11 empty] | 67 | Gym |  |  |  | 3422 | 8 | 27376 | [5 empty] | 37 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 37 | 1.062 | 39.2953 | 4 | 49.9156 | 4
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 2392 | [11 empty] | 68 | Gym |  |  |  | 2200 | 8 | 17600 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 8.1545 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 8.1545 | 1 | 8.1545 | 2 | 8.1545 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 364 | [11 empty] | 69 | Gym |  |  |  | 1914 | 8 | 15312 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 1.4263 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 1.4263 | 1 | 1.4263 | 1 | 1.4263 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Rooftop Unit |  |  | 0 | [11 empty] | 70 | Gym |  |  |  | 6240 | 8 | 49920 | [5 empty] | 0 |  |  |  |  | 20000 | 24.0385 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 24.0385 | 1.062 | 25.5297 | 4 | 36.15 | 4
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 174 | [11 empty] | 71 | GYM |  |  |  | 3721 | 8 | 29768 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0.35071 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0.35071 | 1.062 | 0.37247 | 0 | 10.9928 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 322 | [11 empty] | 72 | Gym/Cafeteria |  |  |  | 3432 | 8 | 27456 | [5 empty] | 0 |  |  |  |  | 10000 | 21.8531 | [11 empty] | 0.70367 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 22.5568 | 1.062 | 23.9561 | 3 | 23.9561 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 1073 | [11 empty] | 73 | Gymasium |  |  |  | 3498 | 8 | 27984 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 2.3006 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 2.3006 | 1.062 | 2.4433 | 1 | 2.4433 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 157 | [11 empty] | 74 | Hallway |  |  |  |  | 8 | 1000 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 9.42 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 9.42 | 1 | 9.42 | 2 | 9.42 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 105 | [11 empty] | 75 | Hallway |  |  |  |  | 8 | 500 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 12.6 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 12.6 | 1 | 12.6 | 3 | 12.6 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 288 | [11 empty] | 76 | Homemaking |  |  |  | 768 | 8 | 6144 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 2.8125 |  |  |  | 0 | [5 empty] | 4 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 2.8125 | 1 | 2.8125 | 1 | 6.8125 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 129 | [11 empty] | 77 | IPO Bathrooms |  |  |  | 411 | 8 | 3288 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 2.354 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 2.354 | 1 | 2.354 | 1 | 2.354 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 76 | [11 empty] | 78 | IPO Materials Room |  |  |  | 980 | 8 | 7840 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0.58163 |  |  |  | 0 | [5 empty] | 4 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 0.58163 | 1 | 0.58163 | 0 | 4.5816 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Make-Up Air Unit |  |  | 3011 | [11 empty] | 79 | Kitchen |  |  |  | 1191 | 8 | 9528 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 18.961 |  |  |  | 0 | [5 empty] | 4 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 18.961 | 1 | 18.961 | 3 | 22.961 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 2473 | [11 empty] | 80 | Lab |  |  |  | 1213 | 8 | 9704 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 15.2906 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 15.2906 | 1 | 15.2906 | 3 | 15.2906 | 3
import |  | 2021-03-22 | School Name | [8 empty] | 0 | [11 empty] | 81 | Lab |  |  |  | 2640 | 8 | 21120 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1.062 | 0 | 0 | 10.6203 | 3
import |  | 2021-03-22 | School Name | [8 empty] | 0 | [11 empty] | 82 | Lab |  |  |  | 2067 | 8 | 16536 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [8 empty] | 0 | [11 empty] | 83 | Lab |  |  |  | 2262 | 8 | 18096 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 1508 | [11 empty] | 84 | Large Group Room |  |  |  | 1280 | 8 | 10240 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 8.8359 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 8.8359 | 1 | 8.8359 | 2 | 8.8359 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 593 | [11 empty] | 85 | Library |  |  |  | 1080 | 8 | 8640 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 4.1181 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 4.1181 | 1 | 4.1181 | 2 | 4.1181 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 86 | Library |  |  |  | 1230 | 8 | 9840 | [5 empty] | 4 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 4 | 1 | 4 | 1 | 4 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Rooftop Unit |  |  | 0 | [11 empty] | 87 | Library |  |  |  | 1961 | 8 | 15688 | [5 empty] | 4 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 300 | 1.1474 |  |  |  |  | 10 | [10 empty] | Self |  | 4 | 1 | 4 | 1 | 15.1474 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 983 | [11 empty] | 88 | Library/IMC |  |  |  | 1953 | 8 | 15624 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 3.775 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 3.775 | 1 | 3.775 | 1 | 3.775 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 133 | [11 empty] | 89 | Lounge |  |  |  | 435 | 8 | 3480 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 2.2931 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 2.2931 | 1 | 2.2931 | 1 | 2.2931 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 90 | Lounge |  |  |  | 435 | 8 | 3480 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 300 | 5.1724 | [15 empty] | Self |  | 0 | 1 | 0 | 0 | 5.1724 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 91 | Lounge |  |  |  | 435 | 8 | 3480 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 300 | 5.1724 | [15 empty] | Self |  | 0 | 1 | 0 | 0 | 5.1724 | 2
import |  | 2021-03-22 | School Name | [5 empty] | House Fan |  |  | 0 | [11 empty] | 92 | Main Office |  |  |  | 309 | 8 | 2472 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | VAV |  |  | 0 | [11 empty] | 93 | Main Office |  |  |  | 234 | 8 | 1872 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 84 | [11 empty] | 94 | Main Office |  |  |  | 451 | 8 | 3608 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 1.3969 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 1.3969 | 1 | 1.3969 | 1 | 11.3969 | 3
import |  | 2021-03-22 | School Name | [8 empty] | 0 | [11 empty] | 95 | Main Office |  |  |  | 529 | 8 | 4232 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Rooftop Unit |  |  | 0 | [11 empty] | 96 | Main Office |  |  |  | 924 | 8 | 7392 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | House Fan |  |  | 0 | [11 empty] | 97 | Main Office |  |  |  | 297 | 8 | 2376 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 98 | Main Office |  |  |  | 456 | 8 | 3648 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 161 | [11 empty] | 99 | Main Ofiice |  |  |  | 468 | 8 | 3744 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 2.5801 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 2.5801 | 1 | 2.5801 | 1 | 2.5801 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 100 | Mech. Room |  |  |  | 411 | 8 | 3288 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 2765 | [11 empty] | 101 | Music Room |  |  |  | 2040 | 8 | 16320 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 10.1654 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 10.1654 | 1 | 10.1654 | 3 | 10.1654 | 3
import |  | 2021-03-22 | School Name | [5 empty] | House Fan |  |  | 0 | [11 empty] | 102 | Nurse Office |  |  |  | 186 | 8 | 1488 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 4 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 14 | 3
import |  | 2021-03-22 | School Name | [8 empty] | 0 | [11 empty] | 103 | Nurses Office |  |  |  | 308 | 8 | 2464 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 4 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 14 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Convector |  |  | 0 | [11 empty] | 104 | Nurse's Office |  |  |  | 350 | 8 | 2800 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 4 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 14 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Rooftop Unit |  |  | 0 | [11 empty] | 105 | Nurse's Office |  |  |  | 143 | 8 | 1144 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 4 |  |  |  |  | 300 | 15.7343 | [15 empty] | Self |  | 0 | 1 | 0 | 0 | 19.7343 | 3
import |  | 2021-03-22 | School Name | [5 empty] | House Fan |  |  | 0 | [11 empty] | 106 | Nurse's Office |  |  |  | 118 | 8 | 944 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 4 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 14 | 3
import |  | 2021-03-22 | School Name | [5 empty] | HU |  |  | 0 | [11 empty] | 107 | Nurses Office / Classroom |  |  |  | 150 | 8 | 1200 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 4 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 14 | 3
import |  | 2021-03-22 | School Name | [5 empty] | VAV |  |  | 6 | [11 empty] | 108 | Office |  |  |  | 192 | 8 | 1536 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0.23438 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0.23438 | 1 | 0.23438 | 0 | 10.2344 | 3
import |  | 2021-03-22 | School Name | [8 empty] | 0 | [11 empty] | 109 | Office |  |  |  | 875 | 8 | 7000 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Mobile Mini |  |  | 0 | [11 empty] | 110 | Office |  |  |  | 270 | 8 | 2160 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Mobile Mini |  |  | 0 | [11 empty] | 111 | Office |  |  |  | 144 | 8 | 1152 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Mobile Mini |  |  | 0 | [11 empty] | 112 | Office |  |  |  | 144 | 8 | 1152 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Mobile Mini |  |  | 0 | [11 empty] | 113 | Office |  |  |  | 153 | 8 | 1224 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 0 | [11 empty] | 114 | Pool |  |  |  | 7467 | 8 | 59736 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 24 | [5 empty] | 4 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 0 | 1.4912 | 0 | 0 | 41.7524 | 4
import |  | 2021-03-22 | School Name | [5 empty] | House Fan |  |  | 0 | [11 empty] | 115 | Pyschologist Office |  |  |  | 108 | 8 | 864 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 733 | [11 empty] | 116 | Room |  |  |  | 1280 | 8 | 10240 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 4.2949 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 4.2949 | 1 | 4.2949 | 2 | 4.2949 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 1347 | [11 empty] | 117 | Science Lab |  |  |  | 1213 | 8 | 9704 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 8.3285 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 8.3285 | 1 | 8.3285 | 2 | 8.3285 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 1295 | [11 empty] | 118 | Science Lab |  |  |  | 1213 | 8 | 9704 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 8.007 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 8.007 | 1 | 8.007 | 2 | 8.007 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 433 | [11 empty] | 119 | Science Lab |  |  |  | 1227 | 8 | 9816 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 2.6467 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 2.6467 | 1 | 2.6467 | 1 | 2.6467 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 1291 | [11 empty] | 120 | Science Lab |  |  |  | 1213 | 8 | 9704 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 7.9823 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 7.9823 | 1 | 7.9823 | 2 | 7.9823 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Energy Recovery Unit |  |  | 228 | [11 empty] | 121 | Science Lab |  |  |  | 968 | 8 | 7744 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 1.7665 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 1.7665 | 1 | 1.7665 | 1 | 1.7665 | 1
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 1766 | [11 empty] | 122 | Seminar Room |  |  |  | 411 | 8 | 3288 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 32.2263 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 32.2263 | 1 | 32.2263 | 4 | 32.2263 | 4
import |  | 2021-03-22 | School Name | [8 empty] | 0 | [11 empty] | 123 | Staff Lounge |  |  |  | 525 | 8 | 4200 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Air Handling Unit |  |  | 2534 | [11 empty] | 124 | Stage |  |  |  | 1008 | 8 | 8064 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 18.8542 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 18.8542 | 1 | 18.8542 | 3 | 18.8542 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 125 | Storage |  |  |  | 1000 | 8 | 8000 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 126 | Study Area |  |  |  | 3510 | 8 | 28080 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1.062 | 0 | 0 | 10.6203 | 3
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 127 | Teachers Office |  |  |  | 948 | 8 | 7584 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | Unit Ventilator |  |  | 0 | [11 empty] | 128 | Teachers Office |  |  |  | 948 | 8 | 7584 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | HU and Univent |  |  | 0 | [11 empty] | 129 | Tool Storage |  |  |  | 450 | 8 | 3600 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | HU and Univent |  |  | 0 | [11 empty] | 130 | Training Classroom |  |  |  | 459 | 8 | 3672 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 10 | [10 empty] | Self |  | 0 | 1 | 0 | 0 | 10 | 2
import |  | 2021-03-22 | School Name | [5 empty] | HU |  |  | 43 | [11 empty] | 131 | Woodshop |  |  |  | 1003 | 8 | 8024 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 0.32154 |  |  |  | 24 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [15 empty] | Self |  | 0.32154 | 1 | 0.32154 | 0 | 24.3215 | 4

## Rest Bar
mode | 01.01 Project | 01.02 Date | 01.03 Building Name | 01.04 Building Number | 01.05 Street | 01.06 City | 01.07 State | 01.08 Zip | 02.01 Ventilation Type | 02.02 HVAC Zone Name | 02.03 HVAC Model Number | 02.04 HVAC Fan Size CFM | 02.05 Number of Rooms Serviced by this Zone | 02.06 Total Cubic Feet Serviced By This Zone | 02.07 List Room Survey Numbers | 02.08 HVAC Zone a-AUC | 02.09 HVAC Automated Alarms | 02.10 Manual Dampers in Ducts | 02.11 Thermostat Control by Users | 02.12 Thermostat Locks Removed | 02.13 Visible Vent Manually Controlled | 02.14 System Fans on ALL the time | 02.15 System Fans on when public is present | 03.01 Number | 03.02 Room Name | 03.03 Length | 03.04 Width | 03.05 Height | 03.06 Square Feet | 03.07 SQFT Height | 03.08 Cubic Feet | 04.01 Number Of Windows | 04.02 Windows Fully Open | 04.03 Windows Not Blocked | 04.04 Door Open | 04.05 Door Not Blocked | 04.06 w-AUC | 05.01 Exhaust Fan Type | 05.02 Number of Exhaust Fans | 05.03 Intake Vents Fully Open | 05.04 Intake Vents Not Blocked | 05.05 Total Exhaust Fans CFM | 05.06 Total Exhaust Fans fAUC | 06.01 Forced Air Heating | 06.02 Forced Air Heating Cooling | 06.03 Forced Air Fan Option | 06.04 Number of Exhaust Vents | 06.05 Exhaust Vents Fully Open | 06.06 Exhaust Vents Not Blocked | 06.07 Number of Intake Vents | 06.08 HVAC Intake Vents Fully Open | 06.09 HVAC Intake Vents Not Blocked | 06.10 Visual Streamers | 06.11 t-AUC | 06.12 a-AUC | 07.01 Number of UV-C Fixtures | 07.02 UV-C Model | 07.03 UV-C Total Watts | 07.04 UV-C eAUC | 07.05 UV C Public View On/Off Indicators | 07.07 UV-C Automated Alarms | 08.01 Number of Far UV Fixtures | 08.02 Far-UV Model | 08.03 Far-UV Total Watts | 08.04 Far-UV eAUC | 08.05 Far UV Public View On/Off Indicators | 08.06 Far UV Automated Alarms | 09.01 Number of Air Sanitizers | 09.02 Air Sanitizers Model | 09.03 Air Sanitizers Total CFM | 09.04 Air Sanitizers sAUC | 09.05 Air Sanitizers Public View On/Off Indicators | 09.06 Air Sanitizers Automated Alarms | 10.01 Number of PCO/other units | 10.02 PCO/other Model | 10.03 Claimed effective ep AUC | 10.04 Claimed effective ep AUC Test Authority | 10.05 PCO/other units Total CFM | 10.06 PCO/other units Public View On/Off Indicators | 10.07 PCO/other units Automated Alarms | 13.01 Occupancy Number | 13.02 Room Occupancy Sign Posted | 13.03 Public Present During Site Survey | 13.04 Data Entered Directly Into Computer | 13.05 Printout Attached To Paper Form | 14.01 Notes and Observations | 15.01 Inspector Name | 15.02 Signature Date | 16.01 Total AUC | 16.02 Large Room Factor | 16.03 Final AUC | 16.04 Cert Level | 16.05 Final AUC Mitigation | 16.06 Cert Level Mitigation | 16.07 Cert Level Controls
import |  | 2021-03-22 | W&J Bar & Restaurant | [5 empty] | HVAC + UV-C |  |  | 320 | 1 | [10 empty] | 1 | Kitchen | 30 | 30 | 10 | 900 |  | 9000 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 2.1333 |  |  |  | 24 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 0 | [10 empty] | Self |  | 2.1333 | 1 | 2.1333 | 1 | 26.1333 | 4
import |  | 2021-03-22 | W&J Bar & Restaurant | [5 empty] | HVAC + UV-C |  |  | 960 | 1 | [10 empty] | 2 | Eating Area 1 | 40 | 30 | 10 | 1200 |  | 12000 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 4.8 |  |  |  | 24 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 0 | [10 empty] | Self |  | 4.8 | 1 | 4.8 | 2 | 28.8 | 4
import |  | 2021-03-22 | W&J Bar & Restaurant | [5 empty] | HVAC + UV-C |  |  | 960 | 1 | [10 empty] | 3 | Eating Area 2 | 40 | 30 | 10 | 1200 |  | 12000 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 4.8 |  |  |  | 24 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 0 | [10 empty] | Self |  | 4.8 | 1 | 4.8 | 2 | 28.8 | 4
import |  | 2021-03-22 | W&J Bar & Restaurant | [5 empty] | HVAC + Room Sanizer |  |  | 320 | 1 | [10 empty] | 4 | Office | 20 | 20 | 10 | 400 |  | 4000 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 4.8 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 300 | 4.5 |  |  |  |  | 0 | [10 empty] | Self |  | 4.8 | 1 | 4.8 | 2 | 9.3 | 2
import |  | 2021-03-22 | W&J Bar & Restaurant | [5 empty] | HVAC + Far UV |  |  | 240 | 1 | [10 empty] | 5 | Restroom 1 | 20 | 15 | 10 | 300 |  | 3000 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 4.8 |  |  |  | 0 | [5 empty] | 4 |  |  |  |  | 0 | 0 |  |  |  |  | 0 | [10 empty] | Self |  | 4.8 | 1 | 4.8 | 2 | 8.8 | 2
import |  | 2021-03-22 | W&J Bar & Restaurant | [5 empty] | HVAC + Far UV |  |  | 240 | 1 | [10 empty] | 6 | Restroom 2 | 20 | 15 | 10 | 300 |  | 3000 | [5 empty] | 0 |  |  |  |  | 0 | 0 | [11 empty] | 4.8 |  |  |  | 0 | [5 empty] | 4 |  |  |  |  | 0 | 0 |  |  |  |  | 0 | [10 empty] | Self |  | 4.8 | 1 | 4.8 | 2 | 8.8 | 2
import |  | 2021-03-22 | W&J Bar & Restaurant | [5 empty] | Exhaust Fans |  |  | 320 | 1 | [10 empty] | 7 | Bar Area | 20 | 50 | 10 | 1000 |  | 10000 | [5 empty] | 0 |  |  |  |  | 20000 | 120 | [11 empty] | 1.92 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 0 | [10 empty] | Self |  | 121.92 | 1 | 121.92 | 6 | 121.92 | 6
import |  | 2021-03-22 | W&J Bar & Restaurant | [5 empty] | Natural Cross Ventilation |  |  | 0 | 1 | [10 empty] | 8 | Loading Dock | 30 | 20 | 15 | 600 |  | 9000 | [5 empty] | 37 |  |  |  |  | 0 | 0 | [11 empty] | 0 |  |  |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 0 | [10 empty] | Self |  | 37 | 1 | 37 | 4 | 37 | 4