## template
mode | 01.01 Project | 01.02 Date | 01.03 Building Name | 01.04 Building Number | 01.05 Street | 01.06 City | 01.07 State | 01.08 Zip | 02.01 Ventilation Type | 02.02 HVAC Zone Name | 02.03 HVAC Model Number | 02.04 HVAC Fan Size CFM | 02.05 Number of Rooms Serviced by this Zone | 02.06 Total Cubic Feet Serviced By This Zone | 02.07 List Room Survey Numbers | 02.08 HVAC Zone a-AUC | 02.09 HVAC Automated Alarms | 02.10 Manual Dampers in Ducts | 02.11 Thermostat Control by Users | 02.12 Thermostat Locks Removed | 02.13 Visible Vent Manually Controlled | 02.14 System Fans on ALL the time | 02.15 System Fans on when public is present | 03.01 Number | 03.02 Room Name | 03.03 Length | 03.04 Width | 03.05 Height | 03.06 Square Feet | 03.07 SQFT Height | 03.08 Cubic Feet | 04.01 Number Of Windows | 04.02 Windows Fully Open | 04.03 Windows Not Blocked | 04.04 Door Open | 04.05 Door Not Blocked | 04.06 w-AUC | 05.01 Exhaust Fan Type | 05.02 Number of Exhaust Fans | 05.03 Intake Vents Fully Open | 05.04 Intake Vents Not Blocked | 05.05 Total Exhaust Fans CFM | 05.06 Total Exhaust Fans fAUC | 06.01 Forced Air Heating | 06.02 Forced Air Heating Cooling | 06.03 Forced Air Fan Option | 06.04 Number of Exhaust Vents | 06.05 Exhaust Vents Fully Open | 06.06 Exhaust Vents Not Blocked | 06.07 Number of Intake Vents | 06.08 HVAC Intake Vents Fully Open | 06.09 HVAC Intake Vents Not Blocked | 06.10 Visual Streamers | 06.11 t-AUC | 06.12 a-AUC | 07.01 Number of UV-C Fixtures | 07.02 UV-C Model | 07.03 UV-C Total Watts | 07.04 UV-C eAUC | 07.05 UV C Public View On/Off Indicators | 07.07 UV-C Automated Alarms | 08.01 Number of Far UV Fixtures | 08.02 Far-UV Model | 08.03 Far-UV Total Watts | 08.04 Far-UV eAUC | 08.05 Far UV Public View On/Off Indicators | 08.06 Far UV Automated Alarms | 09.01 Number of Air Sanitizers | 09.02 Air Sanitizers Model | 09.03 Air Sanitizers Total CFM | 09.04 Air Sanitizers sAUC | 09.05 Air Sanitizers Public View On/Off Indicators | 09.06 Air Sanitizers Automated Alarms | 10.01 Number of PCO/other units | 10.02 PCO/other Model | 10.03 Claimed effective ep AUC | 10.04 Claimed effective ep AUC Test Authority | 10.05 PCO/other units Total CFM | 10.06 PCO/other units Public View On/Off Indicators | 10.07 PCO/other units Automated Alarms | 13.01 Occupancy Number | 13.02 Room Occupancy Sign Posted | 13.03 Public Present During Site Survey | 13.04 Data Entered Directly Into Computer | 13.05 Printout Attached To Paper Form | 14.01 Notes and Observations | 15.01 Inspector Name | 15.02 Signature Date | 16.01 Total AUC | 16.02 Large Room Factor | 16.03 Final AUC | 16.04 Cert Level | 16.05 Final AUC Mitigation | 16.06 Cert Level Mitigation | 16.07 Cert Level Controls
import | CDC | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 15 | [8 empty] | Hospital Trauma room |  |  | 22 |  | 600 | 13200 | [57 empty] | 15 | 1 | 15 | 3
import | WHO | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 24 | [8 empty] | Hospital room airborne precautions | 13.2 | 6.6 | 9.9 | 87.12 |  | 862.488 | [57 empty] | 24 | 1 | 24 | 3
import | Internet | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 25 | [8 empty] | Hospital operating room |  |  | 22 |  | 600 | 13200 | [57 empty] | 25 | 1 | 25 | 4
import | EPA | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 10 | [8 empty] | Hospital rooms |  |  | 12 |  | 140 | 1680 | [57 empty] | 10 | 1 | 10 | 2
import | EPA | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 12 | [8 empty] | Restaurants |  |  | 24 |  | 4000 | 96000 | [57 empty] | 12 | 1.4912 | 17.8939 | 3
import | NCI | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 20 | [8 empty] | Restaurants |  |  | 24 |  | 4000 | 96000 | [57 empty] | 20 | 1.4912 | 29.8232 | 4
import | wiki | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 20 | [8 empty] | Restaurants |  |  | 24 |  | 4000 | 96000 | [57 empty] | 20 | 1.4912 | 29.8232 | 4
import | Greencheck | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 30 | [8 empty] | Bar |  |  | 24 |  | 4000 | 96000 | [57 empty] | 30 | 1.4912 | 44.7347 | 4
import | NCI | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 20 | [8 empty] | Bar |  |  | 24 |  | 4000 | 96000 | [57 empty] | 20 | 1.4912 | 29.8232 | 4
import | wiki | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 20 | [8 empty] | Bar |  |  | 24 |  | 4000 | 96000 | [57 empty] | 20 | 1.4912 | 29.8232 | 4
import | EPA | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 12 | [8 empty] | School Classroom | 30 | 30 | 10 |  |  | 9000 | [57 empty] | 12 | 1 | 12 | 3
import | EPA | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 15 | [8 empty] | Auditorium | 80 | 45 | 22 |  |  | 79200 | [57 empty] | 15 | 1.4912 | 22.3674 | 3
import | EPA | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 8 | [8 empty] | Assembly Hall | 80 | 45 | 22 |  |  | 79200 | [57 empty] | 8 | 1.4912 | 11.9293 | 3
import | EPA | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 20 | [8 empty] | Classroom (Art) | 30 | 30 | 10 |  |  | 9000 | [57 empty] | 20 | 1 | 20 | 3
import | EPA | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 10 | [8 empty] | Malls |  |  | 24 |  | 2793200 | 67036800 | [57 empty] | 10 | 7.7491 | 77.4907 | 5
import | Greencheck | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 30 | [8 empty] | Office | 10 | 10 | 10 |  |  | 1000 | [57 empty] | 30 | 1 | 30 | 4
import | Greencheck | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 60 | [8 empty] | Engine Room | 40 | 40 | 22 |  |  | 35200 | [57 empty] | 60 | 1.062 | 63.7221 | 5
import | Greencheck | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 60 | [8 empty] | Kitchen | 30 | 30 | 24 |  |  | 21600 | [57 empty] | 60 | 1.062 | 63.7221 | 5
import | NCI | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 8 | [8 empty] | Kitchen | 30 | 30 | 24 |  |  | 21600 | [57 empty] | 8 | 1.062 | 8.4963 | 2
import | NCI | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 18 | [8 empty] | Kitchen | 30 | 30 | 24 |  |  | 21600 | [57 empty] | 18 | 1.062 | 19.1166 | 3
import | EPA | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 30 | [8 empty] | Kitchens (commercial) | 30 | 30 | 24 |  |  | 21600 | [57 empty] | 30 | 1.062 | 31.861 | 4
import | NCI, wiki, EPA | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 10 | [8 empty] | Retail | 100 | 100 | 40 |  |  | 400000 | [57 empty] | 10 | 5.9427 | 59.4265 | 5
import | Greencheck | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 30 | [8 empty] | Laboratory | 30 | 30 | 24 |  |  | 21600 | [57 empty] | 30 | 1.062 | 31.861 | 4
import | wiki | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 12 | [8 empty] | Laboratory | 30 | 30 | 24 |  |  | 21600 | [57 empty] | 12 | 1.062 | 12.7444 | 3
import | EPA | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 30 | [8 empty] | Club Houses | 100 | 50 | 12 |  |  | 60000 | [57 empty] | 30 | 1.4912 | 44.7347 | 4
import | EPA | 2021-05-31 | Elite Building Max AUC Existing Stds | [12 empty] | 15 | [8 empty] | Theatres | 80 | 45 | 22 |  |  | 79200 | [57 empty] | 15 | 1.4912 | 22.3674 | 3

## Standards
[11 empty] | Space cu-ft | LS Factors
[6 empty] | Auto | 22 |  |  |  | 400000 | 7.7491
[6 empty] | All other | 9 |  |  |  | 300000 | 5.9427
[6 empty] | Indoor Pool | 40 |  |  |  | 200000 | 4.14
[6 empty] | Gymnasium | 22 |  |  |  | 100000 | 2.3523
[6 empty] | Cafetorium | 18 |  |  |  | 50000 | 1.4912
[6 empty] | Cafeteria | 12 |  |  |  | 20000 | 1.062
[6 empty] | Classroom | 9
[6 empty] | Auditorium | 20
Area | AUC min | AUC max | Source | CMCL | L | W | H | sqft | cuft | cu-ft | Total AUC | Large Room Factor | Final AUC | Cert Level
Hospital Trauma room | 15 | - | CDC | 3 yellow |  |  | 22 | 600 | 13200 | 13200 | 15 | 1 | 15 | 3 | https://wikoffdesignstudio.com/5-characteristics-flexible-hospital-room/
Hospital room airborne precautions | 24 | - | WHO | 4 yellow | 13.2 | 6.6 | 9.9 | 87.12 | 862.488 | 862.488 | 24 | 1 | 24 | 3
Hospital operating room | 25 | - |  | 4 yellow |  |  | 22 | 600 | 13200 | 13200 | 25 | 1 | 25 | 4 | https://healthcaredesignmagazine.com/architecture/trends-surgery-suite-design-part-one/
Hospital rooms | 6 | 10 | EPA | 2 orange |  |  | 12 | 140 | 1680 | 1680 | 10 | 1 | 10 | 2 | https://wikoffdesignstudio.com/5-characteristics-flexible-hospital-room/
Restaurants | 8 | 12 | EPA | 2 orange |  |  | 24 | 4000 | 96000 | 96000 | 12 | 1.4912 | 17.8939 | 3
Restaurants | 8 | 20 | NCI | 3 yellow |  |  | 24 | 4000 | 96000 | 96000 | 20 | 1.4912 | 29.8232 | 4
Restaurants | 15 | 20 | wiki | 3 yellow |  |  | 24 | 4000 | 96000 | 96000 | 20 | 1.4912 | 29.8232 | 4
Bar | 15 | 30 | Greencheck | 4 yellow |  |  | 24 | 4000 | 96000 | 96000 | 30 | 1.4912 | 44.7347 | 4
Bar | 15 | 20 | NCI | 3 yellow |  |  | 24 | 4000 | 96000 | 96000 | 20 | 1.4912 | 29.8232 | 4
Bar | 15 | 20 | wiki | 3 yellow |  |  | 24 | 4000 | 96000 | 96000 | 20 | 1.4912 | 29.8232 | 4
School Classroom | 4 | 12 | EPA | 3 yellow | 30 | 30 | 10 |  | 9000 | 9000 | 12 | 1 | 12 | 3
Auditorium | 8 | 15 | EPA | 3 yellow | 80 | 45 | 22 |  | 79200 | 79200 | 15 | 1.4912 | 22.3674 | 3 | https://www.hps4000.com/pages/general/low_ceilings.pdf conventional theatre that is 80 feet long, 45 feet wide, 20 feet high
Assembly Hall | 6 | 8 | EPA | 2 orange | 80 | 45 | 22 |  | 79200 | 79200 | 8 | 1.4912 | 11.9293 | 3
Classroom (Art) | 16 | 20 | EPA | 3 yellow | 30 | 30 | 10 |  | 9000 | 9000 | 20 | 1 | 20 | 3
Malls | 6 | 10 | EPA | 2 orange |  |  | 24 | 2793200 | 67036800 | 67036800 | 10 | 7.7491 | 77.4907 | 5
Office | 8 | 30 | Greencheck | 4 yellow | 10 | 10 | 10 |  | 1000 | 1000 | 30 | 1 | 30 | 4
Engine Room | 20 | 60 | Greencheck | 5 green | 40 | 40 | 22 |  | 35200 | 35200 | 60 | 1.062 | 63.7221 | 5
Kitchen | 12 | 60 | Greencheck | 5 green | 30 | 30 | 24 |  | 21600 | 21600 | 60 | 1.062 | 63.7221 | 5
Kitchen | 7 | 8 | NCI | 2 orange | 30 | 30 | 24 |  | 21600 | 21600 | 8 | 1.062 | 8.4963 | 2
Kitchen | 14 | 18 | NCI | 3 yellow | 30 | 30 | 24 |  | 21600 | 21600 | 18 | 1.062 | 19.1166 | 3
Kitchens (commercial) | 15 | 30 | EPA | 4 yellow | 30 | 30 | 24 |  | 21600 | 21600 | 30 | 1.062 | 31.861 | 4
Retail | 6 | 10 | NCI, wiki, EPA | 2 orange | 100 | 100 | 40 |  | 400000 | 400000 | 10 | 5.9427 | 59.4265 | 5
Laboratory | 12 | 30 | Greencheck | 4 yellow | 30 | 30 | 24 |  | 21600 | 21600 | 30 | 1.062 | 31.861 | 4
Laboratory | 6 | 12 | wiki | 3 yellow | 30 | 30 | 24 |  | 21600 | 21600 | 12 | 1.062 | 12.7444 | 3
Club Houses | 20 | 30 | EPA | 4 yellow | 100 | 50 | 12 |  | 60000 | 60000 | 30 | 1.4912 | 44.7347 | 4
Theatres | 8 | 15 | EPA | 3 yellow | 80 | 45 | 22 |  | 79200 | 79200 | 15 | 1.4912 | 22.3674 | 3