## Instructions
ACH Cost Benfit
By Walter Sobkiw
2024-01-26

## ACH Cost Benfit
| A | B | C | D | Scenarios
| 3 | 3 | 3 | 3 | Days off sick
| 28 | 28 | 28 | 28 | Avg Hourly Rate
| 8 | 8 | 8 | 8 | hrs / day
| 10 | 5 | 3 | 1 | Workers in 1000 sqft space
| 6720 | 3360 | 2016 | 672 | Sick Days Cost
| 5 | days / wk
| 8 | hr / day
| 52 | wks / yr
| 2080 | Tot Hrs / Yr
|  |  |  | Workers | 10 | 5 | 3 | 1 | 10 | 5 | 3 | 1
ACH | Remaining Virus 63% | Watts (1000 sq ft) | kWh (work yr) | Ventilation $ / yr | Total Costs A | Total Costs B | Total Costs C | Total Costs D | Total Savings A | Total Savings B | Total Savings C | Total Savings D
0 | 1 | 0 | 0 | 0 | 6720 | 3360 | 2016 | 672 | 0 | 0 | 0 | 0
1 | 0.63 | 104 | 216.32 | 29.7007 | 4263.3007 | 2146.5007 | 1299.7807 | 453.0607 | 2456.6993 | 1213.4993 | 716.2193 | 218.9393
2 | 0.3969 | 208 | 432.64 | 59.4015 | 2726.5695 | 1392.9855 | 859.5519 | 326.1183 | 3993.4305 | 1967.0145 | 1156.4481 | 345.8817
3 | 0.25005 | 312 | 648.96 | 89.1022 | 1769.418 | 929.2601 | 593.197 | 257.1338 | 4950.582 | 2430.7399 | 1422.803 | 414.8662
4 | 0.15753 | 416 | 865.28 | 118.8029 | 1177.4019 | 648.1024 | 436.3826 | 224.6628 | 5542.5981 | 2711.8976 | 1579.6174 | 447.3372
5 | 0.099244 | 520 | 1081.6 | 148.5037 | 815.421 | 481.9624 | 348.5789 | 215.1954 | 5904.579 | 2878.0376 | 1667.4211 | 456.8046
6 | 0.062524 | 624 | 1297.92 | 178.2044 | 598.3624 | 388.2834 | 304.2518 | 220.2202 | 6121.6376 | 2971.7166 | 1711.7482 | 451.7798
7 | 0.03939 | 728 | 1514.24 | 207.9052 | 472.6047 | 340.2549 | 287.315 | 234.3751 | 6247.3953 | 3019.7451 | 1728.685 | 437.6249
8 | 0.024816 | 832 | 1730.56 | 237.6059 | 404.3666 | 320.9862 | 287.6341 | 254.282 | 6315.6334 | 3039.0138 | 1728.3659 | 417.718
9 | 0.015634 | 936 | 1946.88 | 267.3066 | 372.3659 | 319.8362 | 298.8244 | 277.8125 | 6347.6341 | 3040.1638 | 1717.1756 | 394.1875
10 | 0.0098493 | 1040 | 2163.2 | 297.0074 | 363.1947 | 330.101 | 316.8636 | 303.6261 | 6356.8053 | 3029.899 | 1699.1364 | 368.3739
11 | 0.0062051 | 1144 | 2379.52 | 326.7081 | 368.4061 | 347.5571 | 339.2175 | 330.8779 | 6351.5939 | 3012.4429 | 1676.7825 | 341.1221
12 | 0.0039092 | 1248 | 2595.84 | 356.4088 | 382.6786 | 369.5437 | 364.2898 | 359.0358 | 6337.3214 | 2990.4563 | 1651.7102 | 312.9642
| 104 | Watts per 1 ACH per (1000 sqft 12 ft ceiling)
Watts
| 0.0086 | Mechanical ventilation power 1 ACH (1 cuft)
| 104 | Mechanical ventilation power 1 ACH (1000 sqft 12 ft ceiling)
| 207 | UV Ventilation 12 eACH (1000 sqft)
| 17.25 | UV Ventilation 1 eACH (1000 sqft)
| 0.1373 | avg NJ commercial electricity rate $ / kWh
| 0.1751 | avg NJ residential electricity rate $ / kWh
| 0.89 | CO2 lbs / kWh
| 0.5175 | Mech Watts / CFM 2023